## Read Me
2012 IECC Residential Compliance Evaluation Forms
General Information
1 | This workbook contains tabs for Home, Envelope, Mechanical, and Lighting data entries. The fourth-to-last tab contains definitions for cavity insulation grades for use in response to the cavity insulation questions on the Envelope tab. The next tab contains a discussion of how and when a field team member should put a "0" value in a field for insulation R-values.
2 | For the identification code in LOC6 on the Home tab, please use the following format for the code: The two-digit abbreviation for the state followed by a unique number assigned by the Project Team. The ID number may also include a unique identifier for the town/place/jurisdiction but should not use the name of the town/place/jurisdiction to maintain privacy.
3 | The tables have been set up to mimic the data entry screens in the web-based tool.
4 | Responses to individual questions or requirements that are not allowed are grayed out in the tables.
5 | The format for responses is shown in the Format column in each table. Formats include "Check Box", "Text", Yes or No", and "Number". For "Check Box", check if the home meets or does not meet the requirement. For "Text", enter the answer in the Observation field. For "Yes or No", enter yes or no in the Observation field. For "Number", enter the appropriate number in the Observation field.
6 | The "Not Applicable" field may be checked any time a requirement or question is not applicable to the home. The "Not Observable" field should be checked when the requirement is applicable to the home, but not observable for whatever reason. For example, if a home has been completed to the point where external basement insulation is not observable in the field, the use of "Not Observable" would be justified.
7 | The "Comments" field may be used to enter any text needed to explain the observation.
8 | A column labelled "REScheck, HERS, or Other Compliance Documentation (if available) has been added to hold information related to documentation that might be provided by the code official office or may be available in the field. This column may be used to see if existing compliance documentation matches what is in the field.
9 | Fields with drop down menus have been locked so that only drop down values may be selected. Users should pick the most appropriate answer and may provide additional information in the Comment field.
Special Directions for Printing of Paper Forms for Use in the Field
1 | The worksheets have been formatted to allow printing. Sizing to print on legal size paper may be needed. Margins may need to be adjusted.
2 | Users may choose to hide some columns in the form to facilitate printing. Columns E and F in particular may not be needed by field personnel.
3 | Users of the paper form should enter "Yes" or "No" in the "Meets Requirement" column (Column H). Electronic data entry for this field will utilize drop downs for "complies" and "does not comply". The reason for this direction is the Column H combines what were originally two separate columns in the form - one for "Meets Requirement" and one for "Does not meet Requirement".
4 | Users of the paper form should enter the compliance path used in response to Comp2 on the Home tab. Electronic data entry for this field will utilize prescriptive, performance, REScheck, or ERI or HERS Index
5 | Users of the paper form should enter check marks for the "Not Applicable" or "Not Observable" columns. Electronic data entry for this field will utilize "Not applicable" or "Not observable" as appropriate.
6 | Comments have been inserted in all foundation related related questions directing the user of the paper form which rows to fill out based on their response to question BG17 on predominant foundation type. These comments can be edit or over-ridden if the user has a comment to add to or replace this comment.
Special Directions for Users wishing to Combine All Tabs in a Single Tab
1 | For users who wish to pull the Home, Envelope, Mechanical, and Lighting tabs on a single tab, perhaps for use with a tablet computer in the field, the process may be easier if you delete the header rows such as Rows 3 and 10 on the Home Tab. The information in these rows is duplicated in columns E and F. While it is possible to combine the tabs with these rows in place, sorting of the resulting sheet may be problematic because most of the cells in Rows E and F are blank.
Special Directions for Data Entry
1 | The data is organized to facilitate entry into this spreadsheet, which can then be loaded directly into PNNL's web-based tool. There is no longer any need to enter data manually into the web-based tool at https://energycode.pnl.gov/RCD.
2 | Completed spreadsheets for individual homes should be sent directly to PNNL via e-mail.
Special Directions for States needing State-Specific Forms
1 | If a Project Team needs a state-specific form, please contact PNNL to make the necessary changes.
2 | If questions are to be removed, please provide the justification for removal to PNNL.
3 | If questions are to be added, please provide the justification, section of state code, and a link to the state code (if appropriate) to PNNL.
4 | If questions are to be modified, please provide the justification to PNNL.
This is the first 2012 IECC data collection form created for DOE's Residential Field Study project. This form was created from the 2015 IECC data collection form developed for Phase I data collection. Questions on the 2015 IECC data collection form that are not part of the 2012 IECC have been removed in this form.
The following questions or fields from the original 2015 IECC data collection form have been deleted:
1 | Envelope - All questions related to sunrooms as data collected in Phase I for these questions was extremely sparse.
2 | Envelope - Questions BG18 and BG19 related to vented or unvented crawlspaces and heated or unheated basements have been folded into the foundation type question BG17 to optimize the QA process.
3 | Mechanical - All related to pools as data collected in Phase I for these questions was extremely sparse.
4 | FIeld for HERS data or REScheck data entry was eliminated as no data was input for this column in Phase I.
5 | Mechanical - Questions related to supply and return duct location EXCEPT for DP5 and DP9.
The following questions or fields have been added to the original 2015 IECC data collection form to collect new information:
1 | All tabs - Columns D, E, and F for phase of construction, building system, and building subsystem. The Phase of Construction is one phase where the information requested may be found and is provided only as a suggestion. Field teams are NOT limited to this particular phase for data collection.
2 | Envelope, Mechanical and Lighting tabs - Column G for identifying key items, key item modifiers, and results weighters used in the analysis
3 | Home - Geo4 and Geo5 related to type of home
4 | Envelope - CEX1, CEX2, and CEX3 dealing with roof insulation in restricted spaces
5 | Envelope - Ceiling1 and Ceiling 2 dealing with rafter or joist spacing and thickness
6 | Envelope - Floor1 and Floor 2 dealing with floor joist spacing and thickness
7 | Envelope - Wall3 and Wall4 dealing with wall stud spacing and insulation backing
8 | Mechanical - Provisions for 3 separate duct systems, 3 separate heating systems, and 3 separate cooling systems.
9 | Mechanical - An option for heat pump water heaters was added to EQ8. This neccessitated changing the existing "electricity" option to "electricity-resistance" and adding an "electricity-heat pump" option.
10 | Mechanical - The duct insulation R-value questions were modified to ask the typical R-value for supply/return ducts in unconditioned space or outside/attic. These questions are NOT duplicated for each duct system. The typical value across all duct systems should be entered.
11 | Mechanical - An option for radiant heating systems was added to the heating system type question.
The following changes have been implemented to various fields to facilitate data entry and optimize the QA process:
1 | Home Tab - COMP3, Comp4a, and Comp4b have been folded into Comp2 with a drop down.
2 | "Not Applicable" field has been implemented as a drop down.
3 | "Not Observable" field has been implemented as a drop down.
4 | "Does Not Meet Requirement" field has been folded into the "Meets Requirement" field and a drop down of "Complies" or "Does not comply" has been implemented.
5 | "Field Observation" field has had a numeric value requirement placed on all cells for which a numeric value input is required. A popup will inform the user if they try to enter non-numeric data in these cells.
6 | Envelope - BG17 - Predominant Foundation Type - has been rewritten to combine the 3 original questions related to foundation type, whether or not the basement was heated, and whether or not the crawlspace was vented.
7 | Popups have been added to the predominant foundation type and foundation insulation questions to ensure that if the predominant foundation type is listed as "X", the foundation insulation observations for "X" are also obtained. These popups may partially obscure drop down menus becuase their position is fixed in Microsoft EXCEL. Scroll up or down to see the drop down menus.
8 | Foundation related questions will appear "grayed out" depending on the response to question BG17 on Predominant Foundation Types.
The following tabs have been deleted from the 2015 data collection form as they are not needed for every home:
1 | Tally Sheet Option 1
2 | Tally Sheet Option 2
3 | Jurisdiction Tally Sheet
The following tab has been added to provide additional guidance and clarity on the question of when a field team member should enter a "0" value in an observed insulation field in order to optimize QA.
1 | Zero Insulation Guidance
There are hidden columns to the right of the individual data collection forms used for drop down menus. Please don't modify these columns.
10/18/2017 Update - changed second "M2" on envelope tab to "M3". Wall Framing Materials

## 2012 IECC Home
2012 IECC Residential Data Collection Form - Home
ID | Code Section | Description | Phase of Construction | Building System | Building System Subcategory | Meets Requirement | Not Applicable | Not Observable | Observation | Format | Units | Comments | Dropdowns/QA | Comment | Dropdown Choice #1 (Leave Blank | Dropdown Choice #2 | Dropdown Choice #3 | Dropdown Choice #4 | Dropdown Choice #5
Home Documentation General
LOC1 | NA | State where home is located | Pre-Inspection | Home | General |  |  |  |  | Text
LOC2 | NA | Climate zone where home is located | Pre-Inspection | Home | General |  |  |  |  | Text
LOC3 | NA | Does the home fall in the Warm-Humid Zone (question applicable only to zone 3) | Pre-Inspection | Home | General |  |  |  |  | Yes or No | [5 empty] | Yes | No
LOC4 | NA | County where home is located | Pre-Inspection | Home | General |  |  |  |  | Text
LOC5 | NA | Number of homes builder builds per year | Pre-Inspection | Home | General |  |  |  |  | Number
LOC6 | NA | Identification Code for home | Pre-Inspection | Home | General |  |  |  |  | Text
Home Documentation Compliance Method
Comp1 | NA | Energy code to which the home is permitted | Pre-Inspection | Home | Compliance |  |  |  |  | Text
Comp2 | NA | Compliance path within the energy code that was used | Pre-Inspection | Home | Compliance |  |  |  |  | Text |  |  | Dropdown - prescriptive, performance, REScheck, ERI or HERS index | Could also be "PA Alternative" so need to let user write what they want as well. |  | Prescriptive | Performance | REScheck | ERI or HERS Index
Comp5 | NA | If applicable what is the HERS Index or ERI? | Pre-Inspection | Home | Compliance |  |  |  |  | Number
Comp6 | NA | Compliance documentation with energy code details (e.g., plans, REScheck report, etc.) was available and reviewed for this home. | Pre-Inspection | Home | Compliance |  |  |  |  | Yes or No | [5 empty] | Yes | No
Comp7 | NA | Is the home in an "above-code" program? | Pre-Inspection | Home | Compliance |  |  |  |  | Yes or No | [5 empty] | Yes | No
Comp8 | NA | If "yes" to previous question, what is the above-code program? | Pre-Inspection | Home | Compliance |  |  |  |  | Text |  |  |  | We will get all sorts of answers here, but it is too hard to speculate on what we might see for a drop down
Home Documentation Certificate
FI7 | R401.3 | Compliance certificate posted | Final Inspection | Home | Certificate |  |  |  |  | Check Box | [5 empty] | Complies | Does not comply
Home Documentation Size and Shape
Geo1 | NA | Total Conditioned Floor Area for the building | Pre-Inspection | Home | Size and Shape |  |  |  |  | Number | Square feet
Geo2 | NA | Number of stories above grade | Pre-Inspection | Home | Size and Shape |  |  |  |  | Number | Stories
Geo3 | NA | Number of Bedrooms | Pre-Inspection | Home | Size and Shape |  |  |  |  | Number | Bedrooms
Geo4 | NA | Is the home a townhome? | Pre-Inspection | Home | Size and Shape |  |  |  |  | Yes or No |  |  |  | Could combine these questions and make a dropdown |  | Yes | No
Geo5 | NA | Is the home a duplex? | Pre-Inspection | Home | Size and Shape |  |  |  |  | Yes or No | [5 empty] | Yes | No
2012 Residential Data Collection Form - General Comments
The cell below is intended for use by the Project Team to provide any additional general information that may be of use when the data is analyzed. Please do not provide any personally identifiable information such as homeowner or builder names or addresses.

## 2012 IECC Envelope
2012 IECC Residential Data Collection Form - Envelope | [10 empty] | Key Items marked in bold and italics
ID | Code Section | Description | Phase of Construction | Building System | Building System Subcategory | Key Item or Key Item Modifier or Result Weighter | Meets Requirement | Not Applicable | Not Observable | Field Observation | Format | Units | Comments | Dropdowns | Comments/QA
Envelope Air Leakage
FI17 | R402.4.1.2 | Blower door test results from Project Team test using RESNET Protocol (ACH @ 50 PA) | Final Inspection | Envelope | Air Leakage | Key Item |  |  |  |  | Number | ACH50
BD1 | NA | Blower door test results from previous test by other parties (ACH @ 50 PA) (for comparison only) | Final Inspection | Envelope | Air Leakage | [5 empty] | Number | ACH50
FR23a | 402.4.1 | All joints, seams, and penetrations in building thermal envelope sealed | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR23b | 402.4.1 | Site-built windows, doors, and skylights sealed | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR23c | 402.4.1 | Openings between window and door assemblies and their respective jambs and framing sealed | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR23d | 402.4.1 | Utility penetrations sealed | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR23e | 402.4.1 | Dropped ceilings or chases adjacent to the thermal envelope sealed | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
FR23f | 402.4.1 | Knee walls sealed | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
FR23g | 402.4.1 | Walls and ceilings separating a garage from conditioned spaces sealed | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
FR23h | 402.4.1 | Thermal envelope behind tubs and showers on exterior walls sealed | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR23i | 402.4.1 | Common walls between dwelling units sealed | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR23j | 402.4.1 | Attic access openings sealed | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
FR23k | 402.4.1 | Rim joist junctions sealed | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
FR23l | 402.4.1 | Other sources of infiltration sealed | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I1 | R402.4.1.1 | Air barrier and thermal barrier per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box |  |  |  | Insert question on air barrier material/construction?
AB&I2 | R402.4.1.1 | Ceiling and attic per Table R402.4.1.1 | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
AB&I3 | R402.4.1.1 | Walls per Table R402.4.1.1 | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
AB&I4 | R402.4.1.1 | Windows, skylights, and doors per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I5 | R402.4.1.1 | Rim joists per Table R402.4.1.1 | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
AB&I6 | R402.4.1.1 | Floors (including above-garage and cantilevered floors) per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I7 | R402.4.1.1 | Crawl space walls per Table R402.4.1.1 | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
AB&I8 | R402.4.1.1 | Shafts and penetrations per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I9 | R402.4.1.1 | Narrow cavities per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I10 | R402.4.1.1 | Garage separation per Table R402.4.1.1 | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
AB&I11 | R402.4.1.1 | Recessed lighting per Table R402.4.1.1 | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
AB&I12 | R402.4.1.1 | Plumbing and wiring per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I13 | R402.4.1.1 | Shower and tub on exterior walls per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I14 | R402.4.1.1 | Electrical and phone boxes on exterior walls per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I16 | R402.4.1.1 | HVAC register boots per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
AB&I17 | R402.4.1.1 | Fireplace per Table R402.4.1.1 | Insulation | Envelope | Air Leakage
AB&I18 | R402.4.1.1 | Concealed sprinklers per Table R402.4.1.1 | Insulation | Envelope | Air Leakage | [5 empty] | Check Box
FP1 | R402.4.2 | Fireplaces have tight-fitting dampers and doors | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
FP2 | R402.4.2 | Fireplaces have outdoor combustion air | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
FP3 | R402.4.2 | Fireplace doors are tested, listed, and labeled in accordance with Section R402.4.2. | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
FR20 | R402.4.3 | Fenestration that is factory built has infiltration rates per NFRC 400 that do not exceed code limits | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FR16 | R402.4.4 | IC-rated recessed lighting fixtures sealed at housing/interior finish and labeled to indicate ≤2.0 cfm leakage at 75 Pa | Framing Rough-In | Envelope | Air Leakage | [5 empty] | Check Box
FI8 | R402.4.2 | Wood-burning fireplaces have tight fitting flue dampers and outdoor air for combustion | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
FBA1 | R402.4.4 | Rooms containing fuel burning appliances comply with R402.4.4. | Final Inspection | Envelope | Air Leakage | [5 empty] | Check Box
Envelope Ceiling and Attic
BG15 | NA | Is the insulation located on the ceiling or at the rafters? | Insulation | Envelope | Ceiling and Attic | [5 empty] | Text
CEX1 | 402.2.1 | For ceilings with attic spaces, does the full height of uncompressed insulation extend over the wall top plate of the eaves? | Insulation | Envelope | Ceiling and Attic | [5 empty] | Yes or No |  |  |  |  | Yes | No
CEX2 | 402.2.2 | For ceilings without attic spaces, is there room to install more than R-30 insulation in the whole ceiling? | Insulation | Envelope | Ceiling and Attic | [5 empty] | Yes or No |  |  |  |  | Yes | No
CEX3 | 402.2.2 | For ceilings without attic spaces, is the area of the ceiling where there is not room to install more than R-30 insulation limited to 500 square feet or 20% of the insulated ceiling area? | Insulation | Envelope | Ceiling and Attic | [5 empty] | Yes or No |  |  |  |  | Yes | No
FI1 | R402.1.2, R402.2.1, R402.2.2, R402.2.6 | Predominant ceiling insulation Total R-value (cavity and continuous insulation) | Final Inspection | Envelope | Ceiling and Attic | Key Item |  |  |  |  | Number | R-value
M1 | NA | What is the attic framing material - wood or steel? | Framing Rough-In | Envelope | Ceiling and Attic | [5 empty] | Text |  |  | Dropdown - wood, steel |  | Wood | Steel
Ceiling1 | NA | What is the predominant ceiling rafter or joist spacing (16 inch, 24 inch, etc.) | Framing Rough-In | Envelope | Ceiling and Attic | [5 empty] | Number | Inches of spacing
Ceiling2 | NA | What is the predominant ceiling rafter or joist depth (8 inch, 10 inch, etc.) | Framing Rough-In | Envelope | Ceiling and Attic | [5 empty] | Number | Inches of depth
IQ1 | NA | What is the roof cavity insulation quality? (I,II,III) - see INFO - Insulation Grading tab | Insulation | Envelope | Ceiling and Attic | Key Item Modifier |  |  |  |  | Text |  |  | Dropdown - I, II, III |  | I | II | III
FI3 | R402.2.4 | Attic access hatch and door insulation ≥R-value of the adjacent assembly or vertical doors meet the fenestration U-factor required in Table R402.1.1. | Final Inspection | Envelope | Ceiling and Attic | [5 empty] | Check Box
EB1 | R402.2.3 | Vented attics contain eave baffles as per R402.2.3 | Framing Rough-In? | Envelope | Ceiling and Attic
Envelope Ceiling and Attic Kneewalls
KW1 | NA | Knee Wall insulation R-value (cavity insulation) | Insulation | Envelope | Ceiling and Attic Kneewals | [5 empty] | Number | R-value
KW2 | NA | Knee Wall insulation R-value (continuous insulation) | Insulation | Envelope | Ceiling and Attic Kneewals | [5 empty] | Number | R-value
KW3 | NA | What is the knee wall framing material - wood or steel? | Framing Rough-In | Envelope | Ceiling and Attic Kneewals | [5 empty] | Text |  |  | Dropdown - wood, steel |  | Wood | Steel
KW4 | NA | What is the predominant nominal knee wall framing depth? (2 inch, 4 inch, 6 inch, 8 inch, etc.) | Framing Rough-In | Envelope | Ceiling and Attic Kneewals | [5 empty] | Number | inches of framing depth
KW5 | NA | What is the knee wall insulation quality? (I,II,III) - see INFO - Insulation Grading tab | Insulation | Envelope | Ceiling and Attic Kneewals | [5 empty] | Text |  |  | Dropdown - I, II, III |  | I | II | III
Envelope Fenestration
FR2 | R402.1.2, R402.3.1, R402.3.3 | Window NFRC-rated U-factor (area-weighted average) | Framing Rough-In | Envelope | Fenestration | Key Item |  |  |  |  | Number | U-factor
FR3 | R402.1.2, R402.3.2, R402.3.3 | Glazed fenestration (including windows, glazed doors, and skylights) NFRC-rated SHGC value (area-weighted average) | Framing Rough-In | Envelope | Fenestration | Key Item |  |  |  |  | Number | SHGC
FR5 | R402.1.2, R402.3.1, R402.3.3 | Skylight NFRC-rated U-factor (area-weighted average) | Framing Rough-In | Envelope | Fenestration | [5 empty] | Number | U-factor
FR1 | R402.1.2, R402.3.4 | Door NFRC-rated U-factor (area-weighted average) | Framing Rough-In | Envelope | Fenestration | [5 empty] | Number | U-factor
Envelope Foundation All Foundations
BG17 | NA | Predominant (most common) foundation type - Slab-on-grade, Unvented crawlspace, Vented Crawlspace, Heated basement, Unheated basement | Foundation | Envelope | All Foundations | Result Weighter |  |  |  |  | Text |  | If you pick slabs here, fill out slab questions below. For unvented crawlspaces, fill out unvented crawlspace questions. For heated basements, fill out heated basement questions. For vented crawlspaces and unheated basements, fill out floor questions. | Dropdown- slab-on-grade, unvented crawlspace, vented crawlspace, heated basement, unheated basement |  | Slab-on-grade | Unvented crawlspace | Vented crawlspace | Heated basement | Unheated Basement
FO11 | R303.2.1 | A protective covering is installed to protect exposed exterior insulation and extends a minimum of 6 in. below grade | Foundation | Envelope | All Foundations | [5 empty] | Check Box
Envelope Foundation Basement
FO4a | R402.1.2, R402.2.8 | Conditioned basement wall insulation R-value (cavity insulation) | Foundation | Envelope | Basement | Key Item |  |  |  |  | Number | R-value | Only answer this question if you select "Heated Basement" for question BG17.
FO4b | R402.1.2, R402.2.8 | Conditioned basement wall insulation R-value (continuous insulation) | Foundation | Envelope | Basement | Key Item |  |  |  |  | Number | R-value | Only answer this question if you select "Heated Basement" for question BG17.
FO6 | R402.2.8 | Conditioned basement wall insulation depth of burial or distance from top of wall | Foundation | Envelope | Basement | [5 empty] | Number | Feet | Only answer this question if you select "Heated Basement" for question BG17.
WIP2 | NA | Where is the basement wall insulation (inside, outside)? | Insulation | Envelope | Basement | [5 empty] | Text |  | Only answer this question if you select "Heated Basement" for question BG17. | Dropdown- inside, outside |  | Inside | Outside
IQ4 | NA | What is the basement cavity insulation quality? (I,II,III) - see INFO - Insulation Grading tab | Insulation | Envelope | Basement | Key Item Modifier |  |  |  |  | Text |  | Only answer this question if you select "Heated Basement" for question BG17. | Dropdown - I, II, III |  | I | II | III
Envelope Foundation Crawlspace
FO7a | R402.1.2, R402.2.10 | Unvented crawl space wall insulation R-value (cavity insulation) | Foundation | Envelope | Crawlspace | Key Item |  |  |  |  | Number | R-value | Only answer this question if you select "Unvented Crawlspace" for question BG17.
FO7b | R402.1.2, R402.2.10 | Unvented crawl space wall insulation R-value (continuous insulation) | Foundation | Envelope | Crawlspace | Key Item |  |  |  |  | Number | R-value | Only answer this question if you select "Unvented Crawlspace" for question BG17.
CSIQ1 | NA | What is the crawl space wall cavity insulation quality? (I,II,III) - see INFO - Insulation Grading tab | Foundation | Envelope | Crawlspace | Key Item Modifier |  |  |  |  | Text |  | Only answer this question if you select "Unvented Crawlspace" for question BG17. | Dropdown - I, II, III |  | I | II | III
FO9 | R402.2.10 | Unvented crawl space continuous vapor retarder installed over exposed earth, joints overlapped by 6 in. and sealed, extending at least 6 in. up and attached to the wall | Foundation | Envelope | Crawlspace | [5 empty] | Check Box |  | Only answer this question if you select "Unvented Crawlspace" for question BG17.
FO10 | R402.2.10 | Unvented crawl space wall insulation depth of burial or distance from top of wall. | Foundation | Envelope | Crawlspace | [5 empty] | Number | Feet | Only answer this question if you select "Unvented Crawlspace" for question BG17.
Envelope Foundation Floor
IN1a | R402.1.2, R402.2.6, R402.2.7 | Floor insulation R-value (cavity insulation) | Insulation | Envelope | Floor | Key Item |  |  |  |  | Number | R-value | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17. |  | IF BG17=basement and BG19=no, this section should be filled out
IN1b | R402.1.2, R402.2.6, R402.2.7 | Floor insulation R-value (continuous insulation) | Insulation | Envelope | Floor | Key Item |  |  |  |  | Number | R-value | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17.
M2 | NA | What is the floor framing material - wood or steel? | Framing Rough-In | Envelope | Floor | [5 empty] | Text |  | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17. | Dropdown - wood, steel |  | Wood | Steel
Floor1 | NA | What is the predominant floor joist spacing (16 inch, 24 inch, etc.) | Framing Rough-In | Envelope | Floor | [5 empty] | Number | Inches of spacing | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17.
Floor2 | NA | What is the predominant floor joist depth (8 inch, 10 inch, etc.) | Framing Rough-In | Envelope | Floor | [5 empty] | Number | Inches of depth | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17.
IN2 | R402.2.7 | Floor insulation installed in substantial contact with the underside of the subfloor or floor insulation is in contact with the top side of the sheathing or continuous insulation is installed on bottom side of floor framing and the perimeter band joists are insulated to the wood frame wall requirements. | Insulation | Envelope | Floor | [5 empty] | Check Box |  | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17.
IQ2 | NA | What is the floor cavity insulation quality? (I,II,III) - see INFO - Insulation Grading tab | Insulation | Envelope | Floor | Key Item Modifier |  |  |  |  | Text | NA | Only answer this question if you selected "Vented Crawlspace" or "Unheated Basement" for question BG17. | Dropdown - I, II, III |  | I | II | III
Envelope Foundation Slab
FO1 | R402.1.2, R402.2.9 | Slab edge insulation R-value | Foundation | Envelope | Slab-On-Grade | Key Item |  |  |  |  | Number | R-value | Only answer this question if you select "Slab-On-Grade" for question BG17. |  | If BG17=slab-on-grade, this section should be filled out.
FO3 | R402.1.2, R402.2.9 | Slab edge insulation depth or length | Foundation | Envelope | Slab-On-Grade | [5 empty] | Number | Feet | Only answer this question if you select "Slab-On-Grade" for question BG17.
Slab1 | NA | Is the slab heated? | Foundation | Envelope | Slab-On-Grade | [5 empty] | Yes or No |  | Only answer this question if you select "Slab-On-Grade" for question BG17. |  |  | Yes | No
Envelope Insulation
IN13 | R303.1.2, R303.1.2 | All installed insulation is labeled or the installed R-values provided | Insulation | Envelope | All Insulation | [5 empty] | Check Box
Wall1 | NA | Are the walls predominantly frame walls or mass walls? | Framing Rough-In | Envelope | All Walls | [5 empty] | Text |  |  | Dropdown - frame, mass |  | Frame | Mass
Wall6 | R402.1.1 | Wall assemblies in building thermal envelope comply with vapor retarder requirements in the IRC or IBC. | Framing Rough-In? | Envelope | All Walls | [5 empty] | Check Box
IN3a | R402.1.2, R402.2.6 | Frame Wall insulation R-value (cavity insulation) | Insulation | Envelope | Frame Wall | Key Item |  |  |  |  | Number | R-value
IN3b | R402.1.2, R402.2.6 | Frame Wall insulation R-value (continuous insulation) | Insulation | Envelope | Frame Wall | Key Item |  |  |  |  | Number | R-value
M3 | NA | What is the wall framing material - wood or steel? | Framing Rough-In | Envelope | Frame Wall | [5 empty] | Text |  |  | Dropdown - wood, steel |  | Wood | Steel
Wall2 | NA | What is the predominant nominal wall framing depth? (2 inch, 4 inch, 6 inch, 8 inch, etc.) | Framing Rough-In | Envelope | Frame Wall | [5 empty] | Number | inches of framing depth
Wall3 | NA | What is the predominant wall stud spacing (16 inch, 24 inch, etc.) | Framing Rough-In | Envelope | Frame Wall | [5 empty] | Number | Inches of stud spacing
Wall4 | NA | What is the insluation backer type? (housewrap, plywood, T-ply, other) | Framing Rough-In | Envelope | Frame Wall | [5 empty] | Text |  |  | Dropdown - housewrap, plywood, T-ply, other | Confirm this with someone | Housewrap | Plywood | T-ply
IQ3 | NA | What is the frame wall insulation quality? (I,II,III) - see INFO - Insulation Grading tab | Insulation | Envelope | Frame Wall | Key Item Modifier |  |  |  |  | Text |  |  | Dropdown - I, II, III |  | I | II | III
FR10a | R402.1.2, R402.2.5 | Mass wall insulation R-value (cavity insulation) | Framing Rough-In? | Envelope | Mass Wall | Key Item |  |  |  |  | Number
FR10b | R402.1.2, R402.2.5 | Mass wall insulation R-value (continuous insulation) | Framing Rough-In? | Envelope | Mass Wall | Key Item |  |  |  |  | Number | R-value
MIQ1 | NA | What is the mass wall cavity insulation quality? (I,II,III) - see INFO - Insulation Grading tab (Not applicable to ICF walls - applicable only to mass walls with framed insulation) | Insulation | Envelope | Mass Wall | Key Item Modifier |  |  |  |  | Text |  |  | Dropdown - I, II, III |  | I | II | III
WIP1 | NA | Where is the mass wall insulation located (inside, outside)? | Insulation | Envelope | Mass Wall | [5 empty] | Text |  |  | Dropdown - inside, outside |  | Inside | Outside

## 2012 IECC Mechanical
2012 IECC Residential Data Collection Form - Mechanical | [10 empty] | Key Items marked in bold and italics
ID | Code Section | Description | Phase of Construction | Building System | Building System Subcategory | Key Item or Key Item Modifier or Result Weighter | Meets Requirement | Not Applicable | Not Observable | Observation | Format | Units | Comments | Dropdowns | Comments/QA
Mechanical Documentation
FI18 | R303.3 | Manufacturer manuals for mechanical and water heating systems have been provided | Final Inspection | Mechanical | Documentation | [5 empty] | Check Box
Mechanical Controls
FO12 | R403.8 | Snow- and ice-melting system controls installed | Final Inspection | Mechanical | Controls | [5 empty] | Check Box
FI9 | R403.1.1 | Programmable thermostat installed on forced air furnaces | Final Inspection | Mechanical | Controls | [5 empty] | Check Box
FI10 | R403.1.2 | Heat pump thermostat installed on heat pumps | Final Inspection | Mechanical | Controls | [5 empty] | Check Box
| R03.4.1 | Circulating service hot water systems have automatic or accessible manual controls | Final Inspection | Mechanical | Controls | [5 empty] | Check Box
Mechanical Ducts
FI4a | R403.2.2 | First Duct System - Duct tightness test result (postconstruction total leakage) by Project Team using RESNET Protocol (CFM/100 ft2 floor area @ 25 Pa) (for systems with portion of ducts outside conditioned area) | Final Inspection | Mechanical | Ducts | Key Item |  |  |  |  | Number | CFM/100 ft2
DT1a | NA | First Duct System - Duct tightness test result from previous tests (CFM/100 ft2 floor area @ 25 Pa) (describe previous duct tightness test in comments - postconstruction or rough-in, to outdoors or total, air handler installed or not) | Final Inspection | Mechanical | Ducts | [5 empty] | Number | CFM/100 ft2
DFAa | NA | First Duct System - Approximate Floor Area of Home Served | Final Inspection | Mechanical | Ducts
DP5a | NA | First Duct System - Rough percentage of supply duct in conditioned space | Framing Rough-In | Mechanical | Ducts | Key Item Modifier |  |  |  |  | Number | Percent |  |  | Important
DP9a | NA | First Duct System - Rough percentage of return duct in conditioned space | Framing Rough-In | Mechanical | Ducts | Key Item Modifier |  |  |  |  | Number | Percent |  |  | Important
FI4b | R403.2.2 | Second Duct System - Duct tightness test result (postconstruction total leakage) by Project Team using RESNET Protocol (CFM/100 ft2 floor area @ 25 Pa) (for systems with portion of ducts outside conditioned area) | Final Inspection | Mechanical | Ducts
DT1b | NA | Second Duct System - Duct tightness test result from previous tests (CFM/100 ft2 floor area @ 25 Pa) (describe previous duct tightness test in comments - postconstruction or rough-in, to outdoors or total, air handler installed or not) | Final Inspection | Mechanical | Ducts
DFAb | NA | Second Duct System - Approximate Floor Area of Home Served | Final Inspection | Mechanical | Ducts
DP5b | NA | Second Duct System - Rough percentage of supply duct in conditioned space | Framing Rough-In | Mechanical | Ducts | Key Item Modifier |  |  |  |  | Number | Percent |  |  | Important
DP9b | NA | Second Duct System - Rough percentage of return duct in conditioned space | Framing Rough-In | Mechanical | Ducts | Key Item Modifier |  |  |  |  | Number | Percent |  |  | Important
FI4c | R403.2.2 | Third Duct System - Duct tightness test result (postconstruction total leakage) by Project Team using RESNET Protocol (CFM/100 ft2 floor area @ 25 Pa) (for systems with portion of ducts outside conditioned area) | Final Inspection | Mechanical | Ducts
DT1c | NA | Third Duct System - Duct tightness test result from previous tests (CFM/100 ft2 floor area @ 25 Pa) (describe previous duct tightness test in comments - postconstruction or rough-in, to outdoors or total, air handler installed or not) | Final Inspection | Mechanical | Ducts
DFAc | NA | Third Duct System - Approximate Floor Area of Home Served | Final Inspection | Mechanical | Ducts
DP5c | NA | Third Duct System - Rough percentage of supply duct in conditioned space | Framing Rough-In | Mechanical | Ducts | Key Item Modifier |  |  |  |  | Number | Percent |  |  | Important
DP9c | NA | Third Duct System - Rough percentage of return duct in conditioned space | Framing Rough-In | Mechanical | Ducts | Key Item Modifier |  |  |  |  | Number | Percent |  |  | Important
FR13a | R403.2.2 | All joints and seams of air ducts are sealed | Framing Rough-In | Mechanical | Ducts | [5 empty] | Check Box
FR13b | R403.2.2 | All joints and seams of air handlers are sealed | Framing Rough-In | Mechanical | Ducts | [5 empty] | Check Box
FR13c | R403.2.2 | All joints and seams of filter boxes are sealed | Framing Rough-In | Mechanical | Ducts | [5 empty] | Check Box
FR30 | R403.2.2.1 | Air handler has a manufacturers designation of air leakage. | Framing Rough-In | Mechanical | Ducts | [5 empty] | Check Box
FR15 | R403.2.3 | Building cavities are not used as supply ducts or plenums | Framing Rough-In | Mechanical | Ducts | [5 empty] | Check Box
FR19 | R403.5 | Automatic or gravity dampers are installed on all outdoor air intakes and exhausts | Framing Rough-In | Mechanical | Ducts | [5 empty] | Check Box
FR12a | R403.2.1 | Supply duct in unconditioned space or outside insulation R-value | Framing Rough-In | Mechanical | Ducts | [5 empty] | Number | R-value
FR12b | R403.2.1 | Return duct in unconditioned space or outside insulation R-value | Framing Rough-In | Mechanical | Ducts | [5 empty] | Number | R-value
FR12c | R403.2.1 | Supply duct in attic R-value | Framing Rough-In | Mechanical | Ducts | [5 empty] | Number | R-value
FR12d | R403.2.1 | Return duct in attic R-value | Framing Rough-In | Mechanical | Ducts | [5 empty] | Number | R-value
DP14 | R403.3.3 | Duct test report provided to code official. | Final Inspection | Mechanical | Ducts | [5 empty] | Check Box
Mechanical Equipment
PR2 | R302.1, R403.6 | Heating and cooling equipment is sized per ACCA Manual S based on loads calculated per ACCA Manual J or other methods approved by the code official | Pre-Inspection | Mechanical | Equipment | [5 empty] | Check Box
EQ1 | NA | Predominant heating Source - gas, oil, electricity, wood | Pre-Inspection | Mechanical | Equipment | [5 empty] | Text |  |  | Dropdown - gas, oil, electricity, wood |  | Gas | Oil | Electricity | Wood
EQ2a | NA | First Heating System - Heating system type - furnace, boiler, radiant, heat pump, electric resistance strip heat | Pre-Inspection | Mechanical | Equipment | Result Weighter |  |  |  |  | Text |  |  | Dropdown - furnace, boiler, radiant, heat pump, electric resistance strip heat, woodstove |  | Furnace | Boiler | Radiant | Heat pump | Electric resistance strip heat | Woodstove
EQ3a | NA | First Heating System - Heating system efficiency in HSPF or AFUE | Final Inspection | Mechanical | Equipment | [5 empty] | Number | HSPF or AFUE
EQ4a | NA | First Heating System - Heating system capacity in Btu/h | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Btu/h
EQ2b | NA | Second Heating System - Heating system type - furnace, boiler, radiant, heat pump, electric resistance strip heat | Pre-Inspection | Mechanical | Equipment | Result Weighter |  |  |  |  | Text |  |  | Dropdown - furnace, boiler, radiant, heat pump, electric resistance strip heat, woodstove |  | Furnace | Boiler | Radiant | Heat pump | Electric resistance strip heat | Woodstove
EQ3b | NA | Second Heating System - Heating system efficiency in HSPF or AFUE | Final Inspection | Mechanical | Equipment | [5 empty] | Number | HSPF or AFUE
EQ4b | NA | Second Heating System - Heating system capacity in Btu/h | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Btu/h
EQ2c | NA | Third Heating System - Heating system type - furnace, boiler, radiant, heat pump, electric resistance strip heat | Pre-Inspection | Mechanical | Equipment | Result Weighter |  |  |  |  | Text |  |  | Dropdown - furnace, boiler, radiant, heat pump, electric resistance strip heat, woodstove |  | Furnace | Boiler | Radiant | Heat pump | Electric resistance strip heat | Woodstove
EQ3c | NA | Third Heating System - Heating system efficiency in HSPF or AFUE | Final Inspection | Mechanical | Equipment | [5 empty] | Number | HSPF or AFUE
EQ4c | NA | Third Heating System - Heating system capacity in Btu/h | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Btu/h
EQ5a | NA | First Cooling System - Cooling system type - central ac, room ac, heat pump | Pre-Inspection | Mechanical | Equipment | [5 empty] | Text |  |  | Dropdown - central ac, room ac, heat pump |  | Central AC | Room AC | Heat pump
EQ6a | NA | First Cooling Sytem - Cooling system efficiency in SEER | Final Inspection | Mechanical | Equipment | [5 empty] | Number | SEER
EQ7a | NA | First Cooling System - Cooling system capacity in Btu/h | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Btu/h
EQ5b | NA | Second Cooling System - Cooling system type - central ac, room ac, heat pump | Pre-Inspection | Mechanical | Equipment | [5 empty] | Text |  |  | Dropdown - central ac, room ac, heat pump |  | Central AC | Room AC | Heat pump
EQ6b | NA | Second Cooling Sytem - Cooling system efficiency in SEER | Final Inspection | Mechanical | Equipment | [5 empty] | Number | SEER
EQ7b | NA | Second Cooling System - Cooling system capacity in Btu/h | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Btu/h
EQ5c | NA | Third Cooling System - Cooling system type - central ac, room ac, heat pump | Pre-Inspection | Mechanical | Equipment | [5 empty] | Text |  |  | Dropdown - central ac, room ac, heat pump |  | Central AC | Room AC | Heat pump
EQ6c | NA | Third Cooling Sytem - Cooling system efficiency in SEER | Final Inspection | Mechanical | Equipment | [5 empty] | Number | SEER
EQ7c | NA | Third Cooling System - Cooling system capacity in Btu/h | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Btu/h
EQ8 | NA | Predominant hot water heating source - gas, oil, electricity-resistance, electric-heat pump, wood, solar | Pre-Inspection | Mechanical | Equipment | [5 empty] | Text |  |  | Dropdown - gas, oil, electricity-resistance, electricity-heat pump, wood, solar |  | Gas | Oil | Electricity - Resistance | Electricity - Heat Pump | Wood | Solar
EQ9 | NA | Water heating system type - storage, tankless, solar | Pre-Inspection | Mechanical | Equipment | [5 empty] | Text |  |  | Dropdown - storage, tankless |  | Storage | Tankless
EQ10 | NA | Water heater efficiency in EF | Final Inspection | Mechanical | Equipment | [5 empty] | Number | EF
EQ11 | NA | Water heater tank capacity in gallons | Pre-Inspection | Mechanical | Equipment | [5 empty] | Number | Gallons
Mechanical Piping
FR17 | R403.3 | Insulation minimum R-value for HVAC piping conveying fluids above 105°F or chilled fluids below 55°F | Framing Rough-In | Mechanical | Piping | [5 empty] | Number | R-value
FR24 | R403.3.1 | Protection of insulation on HVAC piping. | Framing Rough-In | Mechanical | Piping | [5 empty] | Check Box
Hot Water System
FI11 | R403.4.1 | Circulating service hot water systems have automatic or accessible manual controls | Final Inspection | Mechanical | Hot Water System | [5 empty] | Check Box
HW1 | R403.2 | Hot water boilers in one or two pipe heating systems have outdoor temperature reset. | Final Inspection | Mechanical | Hot Water System | [5 empty] | Check Box
HW2 | R403.5.1.1 | Circulating systems designed per R403.5.1.1. | Final Inspection | Mechanical | Hot Water System | [5 empty] | Check Box
HW3 | R403.5.1.2 | Heat trace systems designed per R403.5.1.2. | Final Inspection | Mechanical | Hot Water System | [5 empty] | Check Box
HW4 | R403.5.2 | Demand recirculation systems designed per R403.5.2. | Final Inspection | Mechanical | Hot Water System | [5 empty] | Check Box
FR18 | R403.4.2 | Pipe insulation R-value for DHW pipes | Final Inspection | Mechanical | Hot Water System | [5 empty] | Number | R-value
HW5 | R403.5.4 | Drain water heat recovery units designed per R403.5.4. | Final Inspection | Mechanical | Hot Water System | [5 empty] | Check Box
Mechanical Ventilation
V1 | NA | What type of ventilation system does the home have? (AHU-integrated, exhaust fans only,standalone ERV/HRV) | Pre-Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Text |  |  | Dropdown-AHU-integrated, exhaust fans only,standalone ERV/HRV |  | AHU-integrated | Exhaust fans only | Standalone ERV/HRV
V2 | NA | If AHU-integrated, does it have heat/energy recovery? | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Yes or No |  |  |  |  | Yes | No
V3 | NA | If exhaust-based, does it have dedicated exhaust fan(s) for ventilation or does it rely on bathroom exhaust fan(s)? | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Text |  |  | Dropdown- dedicated exhaust fans, bathroom exhaust fans |  | Dedicated exhaust fans | Bathroom exhaust fans
V4a | R403.5 | Home is provided with ventilation per IRC or IMC or other approved means of ventilation | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Check Box
V4b | NA | Measured CFM of ventilation system (optional) | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Number | CFM
V4c | NA | Measured static pressure of ventilation system (optional) | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Number | Inches W.G.
V5a | R403.6.1 | Range hood fan efficacy | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Number | Efficacy
V5b | R403.6.1 | In-line fan efficacy | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Number | Efficacy
V5c | R403.6.1 | Bathroom, utility room fan (less than 90 cfm) efficacy | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Number | Efficacy
V5d | R403.6.1 | Bathroom utility room fan efficacy | Final Inspection | Mechanical | Mechanical Ventilation | [5 empty] | Number | Efficacy

## 2012 IECC Lighting
2012 IECC Residential Data Collection Form - Lighting | [10 empty] | Key Items marked in bold and italics
ID | Code Section | Description | Phase of Construction | Building System | Building System Subcategory | Key Item or Key Item Modifier or Result Weighter | Meets Requirement | Not Applicable | Not Observable | Value | Value Format | Units | Comments | Dropdowns | Comments/QA
Lighting Documentation
FI6 | R404.1 | Percentage of permanently installed fixtures that have high-efficacy lamps | Final Inspection | Lighting | Documentation | Key Item |  |  |  |  | Number | Percent
GL1 | R404.1.1 | Fuel gas lighting systems do not have continuously burning pilot lights. | Final Inspection | Lighting | Documentation | [5 empty] | Check Box

## INFO - Insulation Grading
2012 IECC Residential Compliance Evaluation Forms - Insulation Grading
Cavity Insulation Grading Definitions per https://staging.remrate.com/Wiki/Cavity-Insulation-Grade.ashx
Grade I: Grade I shall be used to describe insulation that is generally installed according to manufacturers instructions and/or industry standards. A “Grade I” installation requires that the insulation material uniformly fills each cavity side-to-side and top-to-bottom, without substantial gaps or voids around obstructions (such as blocking or bridging), and is split, installed, and/or fitted tightly around wiring and other services in the cavity.
To obtain a “Grade I”, wall insulation shall be enclosed on all six sides, and shall be in substantial contact with the sheathing material on at least one side (interior or exterior) of the cavity. For exterior applications of rigid insulation, insulation shall be in firm contact with the structural sheathing materials and tightly fitted at joints. For faced batt insulation, Grade I can be designated for side-stapled tabs, provided the tabs are stapled neatly (no buckling), and provided the batt is only compressed at the edges of each cavity, to the depth of the tab itself. For sprayed and blown-in insulation, density shall be sufficient that the fill material springs back when compressed slightly with a hand or finger.
Grade II: Grade II shall be used to describe an installation with moderate to frequent installation defects: gaps around wiring, electrical outlets, plumbing and other intrusions; rounded edges or “shoulders”; or incomplete fill amounting to 10% or more of the area with less than 70% of the intended thickness (i.e., 30% compressed); or gaps and spaces running clear through the insulation amounting to no more than 2% of the total surface area covered by the insulation.
Grade III: Grade III shall be used to describe an installation with substantial gaps and voids, with missing insulation amounting to greater than 2% of the area but less than 5% of the surface area it is intended to occupy. More than 5% missing insulation shall be measured and modeled as separate, uninsulated surfaces.
The insulation grade is applied to foundation wall, frame floor, above grade wall, and ceiling cavity insulation only.

## Zero Insulation Guidance
Zero Insulation Guidance
One of the issues noted in quality assurance activities is the insertion of "0" values in data fields where there should be no entry at all.
"0" values show up as observations and so get counted as part of the key item tally, but in many cases the values should not be counted.
These "0" values typically show up in two places - slab edge insulation and continuous wall insulation, but they could and have occurred elsewhere.
The rule is that "0" should be entered only in cases where that is an unexpected or unusual observation.
Unfortunately, the words "unexpected or unusual" means that this is a judgement call on the part of the Field Team member collecting data.
Some Specific Examples
If there is no requirement for slab edge insluation in a climate zone and there is no slab edge insulation observed at a home, just leave the field blank, since this is an expected observation.
If there is a requirement for slab edge insulation in a climate zone and there is not slab edge insulation observed at a home, enter a "0" in the field, since this is an unexpected observation.
If there is no requirement for wall continuous insulation in a climate zone and there is no continuous insulation present and there is no reason to assume that there will be continous insulation, just leave the field blank, since this is an expected observation. For example, if the wall R requirement is R-13 cavity and there is R-13 in the cavity, but no continuous insulation, there is no need to enter "0" for hte continuous insulation.
If there is a requirement for wall continuous inslation in a climate zone and the amount of cavity insulation is such that the wall will not comply and there is no continuous insulation present, enter a "0" in the field since this may be an unexpected observation. For example, if the wall R requirement is R-20 or R-13+R5 and there is R-19 in the wall cavity, but no continuous insulation, enter the "0" for continuous insulation. However, if there is R-21 or R-25 in the wall cavity, then it would be expected that there is no need for continuous insluation so do not enter the "0" for continuous insulation.
If there is a requirement for wall continuous insluation insulation in a climate zone and there is no cavity insulation at all and no continuous insulation, decide if this wall is in the proper phase of construction to evaluate it.
Can this be implemented in VBA?